## Instructions
Quality Control/ Quality Assurance Spread Sheet and Chart
For Laboratory Survey Instruments
From the Radiation Control Office
Contact Jim Abraham @ 491-3736 If you have questions !!
1. | Enter information in grayed areas on the "Setup Data" spreadsheet.
2. | Take 20 readings on your survey meter for background and from a sealed check source.
3. | Enter these values in the "Setup Data" spreadsheet.
4. | Excel will automatically calculate your statistics on the "Setup Data" spreadsheet. This spreadsheet can be printed for your documents.
5. | Move to the next spreadsheet page "Print Chart" to print out a chart to manually enter readings.
To enter your reading into the computer an generate a data chart do the following:
1 | Move to the next spreadsheet page "Current Readings" to enter a daily check reading.
2 | Move to the next spreadsheet page "Data Chart" to see readings entered and print out a chart of readings entered.
Start Here

## Setup Data
Instrument Set-Up Sheet
Instrument Type and SN: |  |  | Ludlum Model 3 / 124763 |  |  | Principal User : |  | RCO
Probe Type and SN: |  |  | ASM-7/17266 |  |  | Source Isotope and SN: |  | Th-232, INV#4744, SS-397
Calibrated: | 1999-07-22 |  |  | Due: | 2000-01-22 |  | Isotope Activity (units): |  | 0.19 mCi
Description of Source Geometry:
In contact with source, 0.19 label face down centered on probe.
Perform twenty (n=20), 1 minute Background counts (push reset between each measurement): | [8 empty] | Units | cpm
60 |  | 70 |  | 70 |  | 70 |  | 50
70 |  | 60 |  | 70 |  | 80 |  | 60
80 |  | 70 |  | 80 |  | 80 |  | 50
60 |  | 60 |  | 70 |  | 80 |  | 60
67.5
Standard Deviation (SDb): |  |  | 9.6655
|  | 96.4964 |  |  |  |  | 86.8309
|  | 38.5036 |  |  |  |  | 48.1691
Perform twenty (n=20), 1 minute Source counts (push reset between each measurement): | [8 empty] | Units | cpm
25000 |  | 25000 |  | 26000 |  | 27500 |  | 27000
26000 |  | 27000 |  | 27000 |  | 26000 |  | 26500
26000 |  | 26000 |  | 25000 |  | 26000 |  | 27000
25000 |  | 27000 |  | 25000 |  | 27000 |  | 26000
26150
Standard Deviation (SDs): |  |  | 828.7594
|  | 28636.2781 |  |  |  |  | 27807.5188
|  | 23663.7219 |  |  |  |  | 24492.4812
Use the above calculated limits on the “Daily Instrument Check Sheet and Control Chart”

## Print Chart
Instrument Type and SN: |  |  | Ludlum Model 3 / 124763 |  |  | Principal User : | RCO
Probe Type and SN: |  | ASM-7/17266 |  |  | Source Isotope and SN: |  | Th-232, INV#4744, SS-397
Description of Source Geometry:
In contact with source, 0.19 label face down centered on probe.
UCL | 28636.2781 | [6 empty] | 96.4964 | UCL
UWL | 27807.5188 | [6 empty] | 86.8309 | UWL
Average Source Measurement | 26150 | [6 empty] | 67.5 | Average Background
+ | [8 empty] | *
Units | [8 empty] | Units
cpm | [8 empty] | cpm
LWL | 24492.4812 | [6 empty] | 48.1691 | LWL
LCL | 23663.7219 | [6 empty] | 38.5036 | LCL
Date
Date of Daily Check
Battery Check (Ö)
Comments:
Principal User Review:_______________________________/________________
|  |  | Signature | Date

## For Computer entry of QAQC
1. | Any day you turn on your meter, enter a background and source reading below !!
2. | Enter the Date in the format "01/01/00"
3. | Enter the Source and Background readings
4. | *** Once the reading is entered, click the correct "Data Chart" spreadsheet to view your chart ***
5. | *** Watch for "trends" in your data which may indicate contamination, or a malfunction in your meter ***
6. | Contact the RCO with any problems or questions you have regarding the readings !
(Print out charts before updating the information!!)
Do Not Delete or Enter Info in this section
**Enter Current Reading Here* | [7 empty] | This information is used for graphing purposes
| Reading (cpm) |  |  | Background |  |  |  |  | Source
Date | Background | Source |  | Mean | UWL | UCL | LWL | LCL | Mean | UWL | UCL | LWL | LCL
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 |  | Background
1999-12-21 | 70 | 28000 |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 | Mean | UWL | UCL
2000-01-18 | 70 | 27000 |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 | 67.5 | 86.8309 | 96.4964
2000-02-02 | 70 | 25000 |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 |  | LWL | LCL
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 |  | 48.1691 | 38.5036
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 |  | Source
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 | Mean | UWL | UCL
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 | 26150 | 27807.5188 | 28636.2781
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 |  | LWL | LCL
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219 |  | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
|  |  |  | 67.5 | 86.8309 | 96.4964 | 48.1691 | 38.5036 | 26150 | 27807.5188 | 28636.2781 | 24492.4812 | 23663.7219
Time to start a new Chart !!
Your Meter is Past Due for Calibration !!
Please contact the RCO to get it calibrated. !!

## Data Chart
Background
Mean | UWL | UCL
67.5 | 86.8309 | 96.4964
| LWL | LCL
| 48.1691 | 38.5036
Source
Mean | UWL | UCL
26150 | 27807.5188 | 28636.2781
| LWL | LCL
| 24492.4812 | 23663.7219